## 4105
ID | PGU<30kW | PGU≥30kW | NS Protection | PAV,E | Attribute name | Explanation of data input (Notes) | Formula symbol | Unit | Data type | Value range | [7 empty] | PGU 1 | PGU 2 | PGU 3 | PGU 4 | PGU 5 | PGU 6 | PGU 7 | PGU 8 | PGU 9 | PGU 10 | PGU 11 | PGU 12 | PGU 13 | PGU 14 | PGU 15 | PGU 16 | PGU 17 | PGU 18 | PGU 19 | PGU 20 | PGU 21 | PGU 22 | PGU 23 | PGU 24 | PGU 25 | PGU 26 | PGU 27 | PGU 28 | PGU 29 | PGU 30 | PGU 31 | PGU 32 | PGU 33 | PGU 34 | PGU 35 | PGU 36 | PGU 37 | PGU 38 | PGU 39 | PGU 40 | PGU 41 | PGU 42 | PGU 43 | PGU 44 | PGU 45 | PGU 46 | PGU 47 | PGU 48 | PGU 49 | PGU 50 | PGU 51 | PGU 52 | PGU 53 | PGU 54 | PGU 55 | PGU 56 | PGU 57 | PGU 58 | PGU 59 | PGU 60 | PGU 61 | PGU 62 | PGU 63 | PGU 64 | PGU 65 | PGU 66 | PGU 67 | PGU 68 | PGU 69 | PGU 70 | PGU 71 | PGU 72 | PGU 73 | PGU 74 | PGU 75 | PGU 76 | PGU 77 | PGU 78 | PGU 79 | PGU 80 | PGU 81 | PGU 82 | PGU 83 | PGU 84 | PGU 85 | PGU 86 | PGU 87 | PGU 88 | PGU 89 | PGU 90 | PGU 91 | PGU 92 | PGU 93 | PGU 94 | PGU 95 | PGU 96 | PGU 97 | PGU 98 | PGU 99 | PGU 100
1.01 | x | x | x | x | Primary energy source |  |  |  | Selection | Wind | PV | PV / storage | Gaseous and liquid fuels | Storage | Water | Other | N/A
1.02 | x | x | x | x | Category/class/equipment |  |  |  | Selection | Inverter | Storage inverter | Asynchronous generator | Synchronous generator | Fuel cell | NS protection | PAV,E-monitoring
1.03 | x | x | x | x | Manufacturer |  |  |  | Text
1.04 | x | x | x | x | Type |  |  |  | Text
1.05 | x | x | x | x | Certificate issue date | Issue date |  |  | Date
1.06 | x | x | x | x | VDE-AR-N 4105 issue date | Only fill in the relevant norm |  |  | Selection | VDE-AR-N 4105:2018-11
1.10 | x | x | x | x | Certificate number |  |  |  | Text
1.11 | x | x | x | x | Certification body |  |  |  | Text
1.12 | x | x | x | x | Type of verification document | Certificate, manufacturer declaration, prototype confirmation |  |  | Selection | Certificate | Manufacturer declaration | Prototype confirmation
1.16 | x | x | x | x | Verification document cover is stored as a pdf file | (VDE-AR-N 4105 - Annex E.4/E.5) |  |  | "File" | Yes | No
1.17 | x | x | x | x | System perturbations test report is stored as a pdf file | (VDE-AR-N 4105 - Annex E.6/E.7) |  |  | "File" | Yes | No
1.19 | x | x |  |  | Grid connection | Phase selection |  |  | Selection | 1-phase | 2-phase | 3-phase
1.20 | x | x |  |  | Maximum active power | (VDE-AR-N 4105 Kap. 3.1.16.7/E.5) | PEmax | kW | Decimal number (1 decimal place)
1.22 | x | x |  |  | Maximum apparent power | (VDE-AR-N 4105 Kap. 3.1.16.5) | SEmax | kVA | Decimal number (1 decimal place)
1.23 | x | x |  |  | Rated active power | (VDE-AR-N 4105 Kap. 3.1.16.1) | PrE | kW | Decimal number (1 decimal place)
1.24 | x | x |  |  | Rated apparent power | (VDE-AR-N 4105 Kap. 3.1.16.2) | SrE | kVA | Decimal number (1 decimal place)
1.25 | x | x |  |  | Rated voltage | (VDE-AR-N 4105 Kap. 3.1.32.1/E.5) | Ur | V | Integer
1.26 | x | x |  |  | Rated current | (VDE-AR-N 4105 Kap. 3.1.5) | Ir | A | Decimal number (1 decimal place)
1.27 | x | x |  |  | Peak short-circuit current |  | ip | A | Decimal number (1 decimal place)
1.28 | x | x |  |  | Initial short-circuit alternating current | (VDE-AR-N 4105 Kap. 3.1.14) | I″k | A | Decimal number (1 decimal place)
1.59 |  | x |  |  | Rapid voltage change: Connection without provisions (regarding the primary energy carrier) | (VDE-AR-N 4105 Kap. E.5) | ki |  | Decimal number (3 decimal places)
1.60 |  | x |  |  | Rapid voltage change: Most adverse case when switching between generator levels | (VDE-AR-N 4105 Kap. E.5) | ki |  | Decimal number (3 decimal places)
1.61 |  | x |  |  | Rapid voltage change: Connection at nominal conditions (of the primary energy carrier) | (VDE-AR-N 4105 Kap. E.5) | ki |  | Decimal number (3 decimal places)
1.62 |  | x |  |  | Rapid voltage change: Disconnection at rated power | (VDE-AR-N 4105 Kap. E.5) | ki |  | Decimal number (3 decimal places)
1.63 |  | x |  |  | Worst case of all switching operation | (VDE-AR-N 4105 Kap. E.5) | ki max |  | Decimal number (3 decimal places)
1.64 |  | x |  |  | Flicker, system flicker coefficient, 30° | (VDE-AR-N 4105 Kap. E.5) | cΨ |  | Decimal number (1 decimal place)
1.65 |  | x |  |  | Flicker, system flicker coefficient, 50° | (VDE-AR-N 4105 Kap. E.5) | cΨ |  | Decimal number (1 decimal place)
1.66 |  | x |  |  | Flicker, system flicker coefficient, 70° | (VDE-AR-N 4105 Kap. E.5) | cΨ |  | Decimal number (1 decimal place)
1.67 |  | x |  |  | Flicker, system flicker coefficient, 85° | (VDE-AR-N 4105 Kap. E.5) | cΨ |  | Decimal number (1 decimal place)